## Q6
|  |  | Miles | 186.1684 | 97.7975 | 8.6366 | 2.01
Circuit ID | Circuit Name | Nominal Voltage (kV) | 2021 Wildfire Risk Rank | Covered conductor Circuit Linear ft to be installed in 2021 | Underground conductor Circuit Linear ft to be installed in 2021 | Overhead conductor Circuit Linear ft to be removed in 2021 | Remote Grid Circuit Linear ft to be removed in 2021
42751113 | FITCH MOUNTAIN 1113 | 12 | 481 | 28754 | 0 | 0 | 0
43432105 | SILVERADO 2105 | 21 | 1361 | 6693 | 0 | 0 | 0
82021106 | LOS GATOS 1106 | 12 | 1864 | 4483 | 0 | 0 | 0
43311102 | KONOCTI 1102 | 12 | 1999 | 5621 | 0 | 0 | 0
152481103 | BRUNSWICK 1103 | 12 | 2144 | 9320 | 0 | 0 | 0
152481103 | BRUNSWICK 1103 | 12 | 2144 | 11395 | 0 | 0 | 0
152481103 | BRUNSWICK 1103 | 12 | 2144 | 9445 | 0 | 0 | 0
152481103 | BRUNSWICK 1103 | 12 | 2144 | 10013 | 0 | 0 | 0
152481103 | BRUNSWICK 1103 | 12 | 2144 | 8271 | 0 | 0 | 0
163661701 | MIWUK 1701 | 17 | 2267 | 7319 | 0 | 0 | 0
163661701 | MIWUK 1701 | 17 | 2267 | 9700 | 0 | 0 | 0
163751102 | PINE GROVE 1102 | 12 | 2271 | 7839 | 0 | 0 | 0
163751102 | PINE GROVE 1102 | 12 | 2271 | 7344 | 0 | 0 | 0
163751102 | PINE GROVE 1102 | 12 | 2271 | 7698 | 0 | 0 | 0
163661701 | MIWUK 1701 | 17 | 2353 | 7529 | 0 | 0 | 0
163661701 | MIWUK 1701 | 17 | 2353 | 8512 | 0 | 0 | 0
163661701 | MIWUK 1701 | 17 | 2353 | 11269 | 0 | 0 | 0
163661701 | MIWUK 1701 | 17 | 2353 | 9083 | 0 | 0 | 0
163661701 | MIWUK 1701 | 17 | 2353 | 10953 | 0 | 0 | 0
163661701 | MIWUK 1701 | 17 | 2353 | 10737 | 0 | 0 | 0
163661702 | MIWUK 1702 | 17 | 2369 | 11036 | 0 | 0 | 0
163661702 | MIWUK 1702 | 17 | 2369 | 9032 | 0 | 0 | 0
163661702 | MIWUK 1702 | 17 | 2411 | 7525 | 0 | 0 | 0
83622106 | CAMP EVERS 2106 | 21 | 2464 | 5487 | 0 | 0 | 0
163661702 | MIWUK 1702 | 17 | 2678 | 12386 | 0 | 0 | 0
163661702 | MIWUK 1702 | 17 | 2678 | 11100 | 0 | 0 | 0
163661702 | MIWUK 1702 | 17 | 2737 | 6168 | 0 | 0 | 0
162821702 | STANISLAUS 1702 | 17 | 2386 | 9222 | 0 | 0 | 0
43071101 | DUNBAR 1101 | 12 | 1794 | 0 | 2367 | 0 | 0
42761101 | FORT BRAGG A 1101 | 12 | 2140 | 2710 | 0 | 0 | 0
83692105 | ROB ROY 2105 | 21 | 3283 | 4555 | 0 | 0 | 0
83692105 | ROB ROY 2105 | 21 | 3283 | 5300 | 0 | 0 | 0
82841101 | BIG BASIN 1101 | 12 | 2456 | 7779 | 0 | 0 | 0
163451702 | FROGTOWN 1702 | 17 | 1316 | 0 | 2272 | 4454 | 0
163661701 | MIWUK 1701 | 17 | 2267 | 8378 | 0 | 0 | 0
162821702 | STANISLAUS 1702 | 17 | 2712 | 10091 | 0 | 0 | 0
43321104 | RINCON 1104 | 12 | 3302 | 0 | 4699 | 0 | 0
43321103 | RINCON 1103 | 12 | 1755 | 0 | 3960 | 0 | 0
43321102 | RINCON 1102 | 12 | 2273 | 0 | 4699 | 0 | 0
43321101 | RINCON 1101 | 12 | 2182 | 0 | 3960 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 86 | 2824 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 328 | 7273 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 328 | 5131 | 0 | 0 | 0
42991105 | LAS GALLINAS A 1105 | 12 | 215 | 0 | 6180 | 0 | 0
42991105 | LAS GALLINAS A 1105 | 12 | 215 | 0 | 8584 | 0 | 0
43432104 | SILVERADO 2104 | 21 | 279 |  | 5734 | 0 | 0
43432104 | SILVERADO 2104 | 21 | 279 | 0 | 6684 | 0 | 0
43432104 | SILVERADO 2104 | 21 | 279 | 5464 |  | 0 | 0
43432104 | SILVERADO 2104 | 21 | 279 | 8276 | 0 | 0 | 0
43432104 | SILVERADO 2104 | 21 | 279 | 6378 | 0 | 0 | 0
12022212 | CLAYTON 2212 | 21 | 377 | 0 | 8675 | 0 | 0
12022212 | CLAYTON 2212 | 21 | 377 | 6207 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 468 | 1619 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 468 | 5152 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 468 | 3259 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 468 | 5748 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 468 | 2233 | 6781 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 468 | 2534.4 | 8184 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 468 | 0 | 11944 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 468 | 2941 | 11084 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 468 | 4638 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 468 | 6839 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 468 | 3738 | 0 | 0 | 0
42561107 | FULTON 1107 | 12 | 637 | 830 | 4192 | 0 | 0
42561107 | FULTON 1107 | 12 | 637 | 261 | 2530 | 0 | 0
42561107 | FULTON 1107 | 12 | 637 | 4636 | 0 | 0 | 0
42561107 | FULTON 1107 | 12 | 637 | 4096 | 0 | 0 | 0
42561107 | FULTON 1107 | 12 | 637 | 4654 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 0 | 9451.2 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 0 | 10243.2 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 1900.8 | 0 | 2022 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 4646.4 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 3960 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 3062.4 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 3810 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 2786 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 1724 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 1243 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 2736 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 2215 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 420 | 6124 | 3550 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 1168 | 2552 | 4137 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 0 | 5488 |  | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 0 | 3109 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 0 | 3809 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 0 | 2286 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 0 | 3067 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 0 | 1839 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 0 | 8886 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 0 | 5960 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 511 | 5813 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 142 | 2196 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 5056 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 6098 | 417 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 5420 | 1913 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 474 | 2259 | 1720 | 0 | 0
43432102 | SILVERADO 2102 | 21 | 663 | 11700 | 0 | 0 | 0
43432102 | SILVERADO 2102 | 21 | 663 | 7015 |  | 0 | 0
152261107 | DIAMOND SPRINGS 1107 | 12 | 811 | 26402 | 0 | 0 | 0
152261107 | DIAMOND SPRINGS 1107 | 12 | 811 | 521 | 5272 | 0 | 0
152261107 | DIAMOND SPRINGS 1107 | 12 | 811 | 12500 | 0 | 0 | 0
43292102 | PUEBLO 2102 | 21 | 951 | 7671 | 0 | 0 | 0
43292102 | PUEBLO 2102 | 21 | 951 | 3036 | 0 | 0 | 0
43292102 | PUEBLO 2102 | 21 | 951 | 0 | 0 | 0 | 6917
14652106 | TIDEWATER 2106 | 21 | 18 | 0 | 6019.2 | 0 | 0
14652106 | TIDEWATER 2106 | 21 | 18 | 0 | 6864 | 0 | 0
14652106 | TIDEWATER 2106 | 21 | 18 | 6336 | 0 | 0 | 0
42871101 | UPPER LAKE 1101 | 12 | 6 | 240 | 0 | 5596.8 | 0
103451101 | KESWICK 1101 | 12 | 7 | 94 | 1704 | 0 | 0
103451101 | KESWICK 1101 | 12 | 7 | 1649 | 0 | 0 | 0
103451101 | KESWICK 1101 | 12 | 7 | 0 | 4325 | 0 | 0
103451101 | KESWICK 1101 | 12 | 7 | 0 | 24801 | 0 | 0
103451101 | KESWICK 1101 | 12 | 7 | 7424 | 0 | 0 | 0
103451101 | KESWICK 1101 | 12 | 7 | 8092 | 0 | 0 | 0
43141102 | MIDDLETOWN 1102 | 12 | 8 | 630 | 2120 | 0 | 0
43141102 | MIDDLETOWN 1102 | 12 | 8 | 6975 | 0 | 0 | 0
43141102 | MIDDLETOWN 1102 | 12 | 8 | 176 | 14835 | 0 | 0
43141102 | MIDDLETOWN 1102 | 12 | 8 | 3858 | 0 | 0 | 0
43141102 | MIDDLETOWN 1102 | 12 | 8 | 0 | 2206 | 0 | 0
43141102 | MIDDLETOWN 1102 | 12 | 8 | 2171 | 0 | 0 | 0
43141102 | MIDDLETOWN 1102 | 12 | 8 | 2951 | 0 | 0 | 0
43311101 | KONOCTI 1102 | 12 | 9 | 3042 | 0 | 0 | 0
43311101 | KONOCTI 1102 | 12 | 9 | 5799 | 0 | 0 | 0
43311101 | KONOCTI 1102 | 12 | 9 | 4527 | 0 | 3247 | 0
254452102 | MARIPOSA 2102 | 21 | 10 | 3748.8 | 0 | 0 | 0
102211101 | BUCKS CREEK 1101 | 12 | 11 | 1158 | 204 | 0 | 0
102211101 | BUCKS CREEK 1101 | 12 | 11 | 1222 | 16133 | 0 | 0
102211101 | BUCKS CREEK 1101 | 12 | 11 | 160 | 9690 | 0 | 0
43141103 | MIDDLETOWN 1103 | 12 | 14 | 0 | 15046 | 0 | 0
43141103 | MIDDLETOWN 1103 | 12 | 14 | 1034 | 0 | 0 | 0
43141103 | MIDDLETOWN 1103 | 12 | 14 | 8099 | 0 | 0 | 0
43141103 | MIDDLETOWN 1103 | 12 | 14 | 4935 | 0 | 0 | 0
43141103 | MIDDLETOWN 1103 | 12 | 14 | 4178 | 0 | 0 | 0
43141103 | MIDDLETOWN 1103 | 12 | 14 | 0 | 9711 | 0 | 0
43141103 | MIDDLETOWN 1103 | 12 | 14 | 2766 | 0 | 0 | 0
43141103 | MIDDLETOWN 1103 | 12 | 14 | 5255 | 0 | 0 | 0
43141103 | MIDDLETOWN 1103 | 12 | 14 | 2729 | 0 | 0 | 0
43141103 | MIDDLETOWN 1103 | 12 | 14 | 1137 | 10209 | 0 | 0
43141103 | MIDDLETOWN 1103 | 12 | 14 | 0 | 7839 | 0
43141103 | MIDDLETOWN 1103 | 12 | 14 | 3320 | 0
43141103 | MIDDLETOWN 1103 | 12 | 14 | 0 | 0 | 19694.4
43141103 | MIDDLETOWN 1103 | 12 | 14 | 0 | 1480 | 0 | 0
43141103 | MIDDLETOWN 1103 | 12 | 14 | 0 | 5339 | 0 | 0
43141103 | MIDDLETOWN 1103 | 12 | 14 | 0 | 9491 | 0 | 0
43141103 | MIDDLETOWN 1103 | 12 | 14 | 0 | 8311 | 0 | 0
43141103 | MIDDLETOWN 1103 | 12 | 14 | 4692 | 0 | 0 | 0
153652109 | SHINGLE SPRINGS 2109 | 21 | 227 | 0 | 8106 | 0 | 0
153652109 | SHINGLE SPRINGS 2109 | 21 | 227 | 9153 | 0 | 0 | 0
153652109 | SHINGLE SPRINGS 2109 | 21 | 227 | 10475 | 0 | 0 | 0
153652109 | SHINGLE SPRINGS 2109 | 21 | 227 | 8691 | 0 | 0 | 0
153652109 | SHINGLE SPRINGS 2109 | 21 | 227 | 0 | 1742 | 0 | 0
153652109 | SHINGLE SPRINGS 2109 | 21 | 227 | 7023 | 0 | 0 | 0
153652109 | SHINGLE SPRINGS 2109 | 21 | 227 | 0 | 5756 | 0 | 0
153652109 | SHINGLE SPRINGS 2109 | 21 | 227 | 12907 | 0 | 0 | 0
153652109 | SHINGLE SPRINGS 2109 | 21 | 227 | 0 | 9416 | 0 | 0
153652109 | SHINGLE SPRINGS 2109 | 21 | 227 | 8158 | 0 | 0 | 0
153652109 | SHINGLE SPRINGS 2109 | 21 | 227 | 9918 | 0 | 0 | 0
153652109 | SHINGLE SPRINGS 2109 | 21 | 227 | 3168 | 0 | 0 | 0
153652109 | SHINGLE SPRINGS 2109 | 21 | 159 | 0 | 22826 | 0 | 0
153652109 | SHINGLE SPRINGS 2109 | 21 | 159 | 13164 | 0 | 0 | 0
153652109 | SHINGLE SPRINGS 2109 | 21 | 159 | 14807 | 0 | 0 | 0
153652109 | SHINGLE SPRINGS 2109 | 21 | 159 | 5438 | 0 | 0 | 0
153652109 | SHINGLE SPRINGS 2109 | 21 | 159 | 10262 | 0 | 0 | 0
152261105 | DIAMOND SPRINGS 1105 | 12 | 666 | 5727 | 0 | 2900 | 0
163451701 | FROGTOWN 1701 | 17 | 721 | 3115.2 | 0 | 0 | 0
103751102 | BIG BEND 1102 | 12 | 1288 | 0 | 4488 | 0 | 0
102911103 | WYANDOTTE 1103 | 12 | 1849 | 0 | 9081.6 | 0 | 0
102911103 | WYANDOTTE 1103 | 12 | 1299 | 0 | 13147.2 | 0 | 0
103751102 | BIG BEND 1102 | 12 | 1288 | 0 | 5016 | 0 | 0
102911103 | WYANDOTTE 1103 | 12 | 1849 | 0 | 5755.2 | 0 | 0
102911103 | WYANDOTTE 1103 | 12 | 1299 | 0 | 9081.6 | 0 | 0
102911103 | WYANDOTTE 1103 | 12 | 1176 | 0 | 13464 | 0 | 0
102911103 | WYANDOTTE 1103 | 12 | 1849 | 0 | 1267.2 | 0 | 0
102911103 | WYANDOTTE 1103 | 12 | 1849 | 0 | 1214.4 | 0 | 0
102911103 | WYANDOTTE 1103 | 12 | 1849 | 0 | 1953.6 | 0 | 0
102911103 | WYANDOTTE 1103 | 12 | 1849 | 0 | 1689.6 | 0 | 0
102911103 | WYANDOTTE 1103 | 12 | 1849 | 0 | 1900.8 | 0 | 0
102911103 | WYANDOTTE 1103 | 12 | 1849 | 0 | 633.6 | 0 | 0
102911103 | WYANDOTTE 1103 | 12 | 1849 | 0 | 475.2 | 0 | 0
102911103 | WYANDOTTE 1103 | 12 | 1849 | 0 | 1584 | 0 | 0
102911103 | WYANDOTTE 1103 | 12 | 1849 | 0 | 1531.2 | 0 | 0
102911103 | WYANDOTTE 1103 | 12 | 1849 | 0 | 1372.8 | 0 | 0
102911103 | WYANDOTTE 1103 | 12 | 1849 | 0 | 3168 | 0 | 0
102911103 | WYANDOTTE 1103 | 12 | 1849 | 0 | 4910.4 | 0 | 0
102911103 | WYANDOTTE 1103 | 12 | 1849 | 0 | 1953.6 | 0 | 0
102911103 | WYANDOTTE 1103 | 12 | 1849 | 0 | 792 | 0 | 0
153082106 | PLACERVILLE 2106 | 21 | 2131 | 0 | 0 | 0 | 3696
152481110 | BRUNSWICK 1110 | 12 | 2134 | 0 | 295 | 0 | 0
103191101 | BANGOR 1101 | 12 | 355 | 0 | 4488 | 0 | 0
254421101 | OAKHURST 1101 | 12 | 847 | 0 | 275 | 0 | 0
102911109 | WYANDOTTE 1109 | 12 | 218 | 705 | 2502 | 0 | 0
63591101 | VACA DIXON 1101 | 12 | 20 | 2102 | 0 | 0 | 0
14452104 | KIRKER 2104 | 21 | 21 | 0 | 8817.6 | 0 | 0
14452104 | KIRKER 2104 | 21 | 21 | 19905.6 | 0 | 0 | 0
254432104 | COARSEGOLD 2104 | 21 | 22 | 12460.8 | 0 | 0 | 0
254432104 | COARSEGOLD 2104 | 21 | 22 | 12460.8 | 0 | 0 | 0
254432104 | COARSEGOLD 2104 | 21 | 22 | 11404.8 | 0 | 0 | 0
254432104 | COARSEGOLD 2104 | 21 | 22 | 7400 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 23 | 3801.6 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 23 | 0 | 3220.8 | 0 | 0
102911109 | WYANDOTTE 1109 | 12 | 29 | 4458 | 0 | 0 | 0
102911109 | WYANDOTTE 1109 | 12 | 29 | 0 | 2416 | 0 | 0
254452102 | MARIPOSA 2102 | 21 | 35 | 13728 | 0 | 0 | 0
254452102 | MARIPOSA 2102 | 21 | 35 | 13772 | 0 | 0 | 0
254452101 | MARIPOSA 2101 | 21 | 36 | 8560 | 0 | 0 | 0
254452101 | MARIPOSA 2101 | 21 | 36 | 7814 | 0 | 0 | 0
254452101 | MARIPOSA 2101 | 21 | 36 | 7722 | 0 | 0 | 0
43141101 | MIDDLETOWN 1101 | 12 | 38 | 4511 | 0 | 0 | 0
102541101 | VOLTA 1101 | 12 | 39 | 18274 | 0 | 0 | 0
63681102 | PUTAH CREEK 1102 | 12 | 41 | 2745.6 | 0 | 0 | 0
42281105 | POTTER VALLEY P H 1105 | 12 | 43 | 0 | 800 | 0 | 0
42281105 | POTTER VALLEY P H 1105 | 12 | 43 | 8885 | 0 | 0 | 0
152282101 | MOUNTAIN QUARRIES 2101 | 21 | 45 | 0 | 13200 | 0 | 0
152282101 | MOUNTAIN QUARRIES 2101 | 21 | 45 | 0 | 9029 | 0 | 0
152282101 | MOUNTAIN QUARRIES 2101 | 21 | 45 | 9187 | 0 | 0 | 0
103611101 | WILDWOOD 1101 | 12 | 52 | 14836.8 | 0 | 0 | 0
103611101 | WILDWOOD 1101 | 12 | 52 | 12988.8 | 0 | 0 | 0
103611101 | WILDWOOD 1101 | 12 | 52 | 9081.6 | 0 | 0 | 0
103611101 | WILDWOOD 1101 | 12 | 52 | 1003.2 | 0 | 0 | 0
103611101 | WILDWOOD 1101 | 12 | 52 | 3643.2 | 0 | 0 | 0
254421103 | OAKHURST 1103 | 12 | 1975 | 10401.6 | 0 | 0 | 0
254421103 | OAKHURST 1103 | 12 | 1975 | 5598 | 0 | 0 | 0
254421103 | OAKHURST 1103 | 12 | 1975 | 4355 | 0 | 0 | 0
192251102 | RIO DELL 1102 | 12 | 585 | 15279 | 0 | 0 | 0