## Q7
Circuit Name | Circuit ID | Nominal Voltage | Wildfire Risk Level | Covered conductor miles to be installed in 2021 | Undergrounding miles to be installed in 2021 | Expulsion fuse replacements to be installed in 2021 | Number of non-exempt expulsion fuses as of 2/21/ 2021 | EVM miles to be completed in 2021
MIWUK 1701 | 163661701 | 17kV | 239.2862 | 15.81 | 0 | 0 | 50 | 0
WOODACRE 1101 | 043021101 | 12kV | 221.5201 | 0 | 0 | 0 | 44 | 0
MONTE RIO 1113 | 042811113 | 12kV | 207.5661 | 0 | 0 | 0 | 54 | 0
STANISLAUS 1702 | 162821702 | 17kV | 195.3255 | 3.66 | 0 | 0 | 123 | 0
ORO FINO 1102 | 103031102 | 12kV | 174.2643 | 0 | 0 | 0 | 48 | 0
MIWUK 1702 | 163661702 | 17kV | 172.6822 | 10.84 | 0 | 0 | 47 | 0
WOODSIDE 1101 | 024251101 | 12kV | 168.1085 | 0 | 0 | 20 | 85 | 11.2475
EL DORADO PH 2101 | 152762101 | 21kV | 144.8389 | 0 | 0 | 11 | 106 | 0
MIDDLETOWN 1101 | 043141101 | 12kV | 137.4312 | 21.09 | 21.98 | 0 | 53 | 11.285
MOLINO 1102 | 042571102 | 12kV | 134.3658 | 0 | 0 | 0 | 193 | 0
ORO FINO 1101 | 103031101 | 12kV | 133.3506 | 0 | 0 | 0 | 28 | 0
BRUNSWICK 1105 | 152481105 | 12kV | 132.6436 | 0 | 0 | 29 | 202 | 4.6636
BRUNSWICK 1106 | 152481106 | 12kV | 129.9055 | 0 | 0 | 13 | 114 | 0.70263
FITCH MOUNTAIN 1113 | 042751113 | 12kV | 122.2658 | 5.45 | 0 | 0 | 127 | 20.5953
MONTE RIO 1112 | 042811112 | 12kV | 122.1459 | 0 | 0 | 0 | 26 | 0
SALT SPRINGS 2102 | 163692102 | 17kV | 117.7973 | 0 | 0 | 0 | 10 | 0
BRUNSWICK 1103 | 152481103 | 12kV | 116.0496 | 9.18 | 0 | 14 | 101 | 19.8233
WEST POINT 1101 | 163201101 | 12kV | 115.7578 | 0 | 0 | 0 | 30 | 0
CHALLENGE 1102 | 103201102 | 12kV | 114.581 | 0 | 0 | 0 | 16 | 19.8066
FORESTHILL 1101 | 152181101 | 12kV | 110.3457 | 0 | 0 | 17 | 59 | 0
APPLE HILL 1104 | 153661104 | 12kV | 109.2734 | 0 | 0 | 24 | 93 | 0
BRUNSWICK 1104 | 152481104 | 12kV | 108.2731 | 0 | 0 | 1 | 57 | 46.532
MIRABEL 1101 | 042091101 | 12kV | 90.9172 | 0 | 0 | 0 | 61 | 0
SYCAMORE CREEK 1111 | 102971111 | 12kV | 81.1785 | 0 | 0 | 0 | 51 | 0
BRUNSWICK 1102 | 152481102 | 12kV | 78.2224 | 0 | 0 | 12 | 69 | 0
PARADISE 1106 | 102831106 | 12kV | 72.3904 | 0 | 0 | 0 | 5 | 0
EL DORADO PH 2102 | 152762102 | 21kV | 72.332 | 0 | 0 | 7 | 17 | 0
WILLITS 1104 | 042661104 | 12kV | 69.3522 | 0 | 0 | 0 | 84 | 2.2852
PIKE CITY 1101 | 152201101 | 12kV | 66.4074 | 0 | 0 | 4 | 12 | 19.3667
CHALLENGE 1101 | 103201101 | 12kV | 66.3697 | 0 | 0 | 0 | 16 | 0
BIG BEND 1102 | 103751102 | 12kV | 61.7771 | 0 | 1.8 | 0 | 4 | 0
SILVERADO 2105 | 043432105 | 21kV | 59.3371 | 1.27 | 0 | 0 | 114 | 0
PUEBLO 2102 | 043292102 | 21kV | 54.9503 | 2.03 | 0 | 0 | 158 | 0
SHADY GLEN 1102 | 152431102 | 12kV | 51.9996 | 0 | 0 | 10 | 25 | 0
MOLINO 1101 | 042571101 | 12kV | 49.2861 | 0 | 0 | 0 | 209 | 0
SHINGLE SPRINGS 1104 | 153651104 | 12kV | 47.8425 | 0 | 0 | 3 | 27 | 0
BONNIE NOOK 1102 | 152301102 | 12kV | 47.034 | 0 | 0 | 1 | 24 | 0
PENRYN 1103 | 152561103 | 12kV | 45.9118 | 0 | 0 | 6 | 32 | 17.0445
DIAMOND SPRINGS 1107 | 152261107 | 12kV | 45.7924 | 7.37 | 1.1 | 10 | 35 | 0
RINCON 1103 | 043321103 | 12kV | 45.3385 | 0 | 0.75 | 0 | 28 | 0
FORESTHILL 1102 | 152181102 | 12kV | 45.0397 | 0 | 0 | 2 | 12 | 6.6072
CLARKSVILLE 2104 | 153612104 | 21kV | 43.4576 | 0 | 0 | 8 | 49 | 0
TIGER CREEK 0201 | 161380201 | 2.4kV | 41.1306 | 0 | 0 | 0 | 2 | 0
HIGHLANDS 1103 | 043361103 | 12kV | 40.059 | 0 | 0 | 0 | 37 | 0
MORAGA 1105 | 013801105 | 12kV | 36.5908 | 0 | 0 | 0 | 32 | 0